{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["工作表1","附件1","附件2","附件3"],"not_rendered":{"images":3},"read":"whole","date_system":"1900"}

{"sheet":"工作表1","index":0,"n_rows":24,"n_cols":10,"rows_kept":24,"merged":[[0,0,0,9]]}
["新污染物（第三批）标准物质明细表"]
["序号","物质名称","类别","数量","单位","浓度范围","浓度单位","制造单位","申请部室","备注"]
[1,"27种有机磷农药混标","标准溶液",2,"瓶","100-2000","mg/L",null,"分析室","化合物详见附件1，溶剂二氯甲烷和丙酮，具有证合格证书，尽快到货，有效期1年以上"]
[2,"磷酸三丁酯-d27","标准溶液",2,"瓶","100-2000","mg/L","BePure","分析室","溶剂二氯甲烷，具有证合格证书，尽快到货，有效期1年以上"]
[3,"6种农药混标","标准溶液",1,"瓶","100-2000","mg/L",null,"分析室","满足GBT 5750.9-2023中13.4方法，溶剂甲醇或乙腈，具有证合格证书，尽快到货，有效期1年以上"]
[4,"草甘膦","标准溶液",1,"瓶","100-2000","mg/L",null,"分析室","溶剂甲醇或乙腈，具有证合格证书，尽快到货，有效期1年以上"]
[5,"十氟三苯基膦","标准溶液",1,"瓶","50-500","mg/L",null,"分析室","溶剂二氯甲烷，具有证合格证书，尽快到货，有效期1年以上"]
[6,"16种多环芳烃混标","标准溶液",2,"瓶","500-2000","mg/L","AccuStandard","分析室","化合物满足HJ805-2016标准要求，溶剂二氯甲烷，具有证合格证书，尽快到货，有效期1年以上"]
[7,"64种半挥发性有机物混标","标准溶液",2,"瓶","500-2000","mg/L","AccuStandard","分析室","化合物满足HJ834-2017标准要求，溶剂二氯甲烷，具有证合格证书，尽快到货，有效期1年以上"]
[8,"8720替代物混标","标准溶液",2,"瓶","1000-5000","mg/L",null,"分析室","6种化合物满足HJ834-2017标准要求，溶剂二氯甲烷，具有证合格证书，尽快到货，有效期1年以上"]
[9,"8720内标物混标","标准溶液",2,"瓶","1000-5000","mg/L",null,"分析室","6种化合物满足HJ834-2017标准要求，溶剂二氯甲烷，具有证合格证书，尽快到货，有效期1年以上"]
[10,"抗生素","标准溶液",1,"瓶","1000-5000","mg/L",null,"分析室","33种化合物详见附件2，优先混标，支持混搭，溶剂甲醇或乙腈，具有证合格证书，尽快到货，有效期1年以上"]
[11,"抗生素内标","标准溶液",1,"瓶","1000-5000","mg/L",null,"分析室","化合物详见附件3，优先混标，支持单标，溶剂甲醇或乙腈，具有证合格证书，尽快到货，有效期1年以上"]
[12,"8种邻苯二甲酸酯类化合物混标","标准溶液",1,"瓶","1000-20000","mg/L","AccuStandard","分析室","化合物包括：邻苯二甲酸二正辛酯、邻苯二甲酸二异癸酯、邻苯二甲酸二异壬酯、邻苯二甲酸二（α- 乙基己基）酯、邻苯二甲酸二丁酯、邻苯二甲酸苄丁酯和邻苯二甲酸二异丁酯，二氯甲烷或正己烷溶剂，具有证合格证书，有效期1年以上，尽快到货。"]
[13,"甲醇中氯化甲基汞(以甲基汞计)","标准溶液",2,"瓶",100,"mg/L","中国计量院标准物质中心","分析室","尽快到货，有效期1年以上。"]
[14,"高氯酸盐","标准溶液",5,"瓶","100-1000","mg/L",null,"分析室","尽快到货，有效期1年以上。"]
[15,"氯酸盐","标准溶液",5,"瓶","100-1000","mg/L",null,"分析室","尽快到货，有效期1年以上。"]
[16,"亚氯酸盐","标准溶液",5,"瓶","100-1000","mg/L",null,"分析室","尽快到货，有效期1年以上。"]
[17,"溴酸盐","标准溶液",5,"瓶","100-1000","mg/L",null,"分析室","尽快到货，有效期1年以上。"]
[18,"二氯乙酸","标准溶液",5,"瓶","100-1000","mg/L",null,"分析室","尽快到货，有效期1年以上。"]
[19,"三氯乙酸","标准溶液",5,"瓶","100-1000","mg/L",null,"分析室","尽快到货，有效期1年以上。"]
[20,"微囊藻毒素","标准溶液",2,"瓶","2024-10-20","μg/mL",null,"分析室","具有GBW/GSB编号证书，或经ISO17034认证，尽快到货，有效期1年以上"]
[21,"海水中的汞","标准溶液",2,"瓶",1,"μg/L","国家海洋局第二海洋研究所","分析室","有效期一年以上"]
[22,"海水中的砷","标准溶液",2,"瓶",1,"μg/L","国家海洋局第二海洋研究所","分析室","有效期一年以上"]

{"sheet":"附件1","index":1,"n_rows":1,"n_cols":1,"rows_kept":1,"merged":[[0,0,0,5]]}
["27种有机磷混标"]

{"sheet":"附件2","index":2,"n_rows":2,"n_cols":2,"rows_kept":2,"merged":[[1,1,1,3]]}
[]
[null,"33种抗生素"]

{"sheet":"附件3","index":3,"n_rows":2,"n_cols":2,"rows_kept":2,"merged":[[1,1,1,3]]}
[]
[null,"抗生素内标"]